## Landolt SA114
Measurements of instrumental magnitudes of Landolt SA114 nov 18, 2012. Capital letters implies catalogue values, lowercase letters implies measured values.
Images collected in five series of B (60sec), V (60 sec) and R (30sec). Telescope Skywatcher Explore 190MN, QSI683-wsg8 and Baader BVR-filters.
| Measurements and catalogue-magnitudes | [9 empty] | Calculated differences | [6 empty] | Calculated coefficients |  |  | Total of 5 runs
| Star | b | snr | B | v | snr | V | r | snr | R | B-V | B-b | V-v | V-R | R-r | b-v | v-r | [5 empty] | std.dev
1st run AM 2.07 | 110 | -7.961 | 173 | 11.479 | -9.609 | 414 | 10.909 | -9.548 | 273 | 10.596 | 0.57 | 19.44 | 20.518 | 0.313 | 20.144 | 1.648 | -0.061 | Tb | -0.060439 | Slope B-V vs B-b | Tb | -0.047092 | 0.014142 | Slope B-V vs B-b
| 112 | -7.095 | 99 | 12.307 | -9.437 | 380 | 11.101 | -9.669 | 293 | 10.456 | 1.206 | 19.402 | 20.538 | 0.645 | 20.125 | 2.342 | 0.232 | Tv (B-V) | 0.02149 | Slope B-V vs V-v | Tv (B-V) | 0.022344 | 0.0060645 | Slope B-V vs V-v
| 117 | -6.432 | 63 | 12.961 | -8.952 | 290 | 11.599 | -9.234 | 227 | 10.861 | 1.362 | 19.393 | 20.551 | 0.738 | 20.095 | 2.52 | 0.282 | Tv (V-R) | 0.043675 | Slope V-R vs V-v | Tv (V-R) | 0.046763 | 0.011593 | Slope V-R vs V-v
| 119 | -6.973 | 90 | 12.489 | -8.69 | 245 | 11.833 | -8.682 | 160 | 11.465 | 0.656 | 19.462 | 20.523 | 0.368 | 20.147 | 1.717 | -0.008 | Tr | -0.14008 | Slope V-r vs R-r | Tr | -0.15296 | 0.02268 | Slope V-r vs R-r
| 122 | -7.606 | 140 | 11.879 | -8.61 | 233 | 11.916 | -8.318 | 126 | 11.889 | -0.037 | 19.485 | 20.526 | 0.027 | 20.207 | 1.004 | -0.292 | Tbv | 0.92428 | Reciprocal of slope B-V vs b-v | Tbv | 0.93507 | 0.013871 | Reciprocal of slope B-V vs b-v
| 123 | -6.635 | 74 | 12.801 | -8.465 | 216 | 12.064 | -8.496 | 145 | 11.667 | 0.737 | 19.436 | 20.529 | 0.397 | 20.163 | 1.83 | 0.031 | Tvr | 1.2251 | Reciprocal of slope V-R vs v-r | Tvr | 1.2496 | 0.0321 | Reciprocal of slope V-R vs v-r
| 124 | -6.559 | 68 | 12.871 | -8.456 | 211 | 12.07 | -8.528 | 146 | 11.614 | 0.801 | 19.43 | 20.526 | 0.456 | 20.142 | 1.897 | 0.072
| 127 | -6.582 | 69 | 12.828 | -8.428 | 212 | 12.095 | -8.465 | 139 | 11.674 | 0.733 | 19.41 | 20.523 | 0.421 | 20.139 | 1.846 | 0.037
| 128 | -5.853 | 40 | 13.609 | -7.913 | 149 | 12.644 | -8.032 | 108 | 12.097 | 0.965 | 19.462 | 20.557 | 0.547 | 20.129 | 2.06 | 0.119
2nd run AM 2.06 | 110 | -7.919 | 172 | 11.479 | -9.639 | 408 | 10.909 | -9.544 | 261 | 10.596 | 0.57 | 19.398 | 20.548 | 0.313 | 20.14 | 1.72 | -0.095 | Tb | -0.05912 | Slope B-V vs B-b
| 112 | -7.06 | 99 | 12.307 | -9.468 | 372 | 11.101 | -9.649 | 278 | 10.456 | 1.206 | 19.367 | 20.569 | 0.645 | 20.105 | 2.408 | 0.181 | Tv (B-V) | 0.022267 | Slope B-V vs V-v
| 117 | -6.387 | 63 | 12.961 | -8.98 | 280 | 11.599 | -9.24 | 219 | 10.861 | 1.362 | 19.348 | 20.579 | 0.738 | 20.101 | 2.593 | 0.26 | Tv (V-R) | 0.045732 | Slope V-R vs V-v
| 119 | -6.947 | 92 | 12.489 | -8.72 | 235 | 11.833 | -8.663 | 150 | 11.465 | 0.656 | 19.436 | 20.553 | 0.368 | 20.128 | 1.773 | -0.057 | Tr | -0.16468 | Slope V-r vs R-r
| 122 | -7.558 | 138 | 11.879 | -8.64 | 223 | 11.916 | -8.355 | 122 | 11.889 | -0.037 | 19.437 | 20.556 | 0.027 | 20.244 | 1.082 | -0.285 | Tbv | 0.92474 | Reciprocal of slope B-V vs b-v
| 123 | -6.573 | 70 | 12.801 | -8.499 | 207 | 12.064 | -8.482 | 134 | 11.667 | 0.737 | 19.374 | 20.563 | 0.397 | 20.149 | 1.926 | -0.017 | Tvr | 1.2665 | Reciprocal of slope V-R vs v-r
| 124 | -6.575 | 71 | 12.871 | -8.49 | 203 | 12.07 | -8.551 | 140 | 11.614 | 0.801 | 19.446 | 20.56 | 0.456 | 20.165 | 1.915 | 0.061
| 127 | -6.574 | 71 | 12.828 | -8.464 | 204 | 12.095 | -8.48 | 134 | 11.674 | 0.733 | 19.402 | 20.559 | 0.421 | 20.154 | 1.89 | 0.016
| 128 | -5.794 | 40 | 13.609 | -7.954 | 144 | 12.644 | -8.091 | 102 | 12.097 | 0.965 | 19.403 | 20.598 | 0.547 | 20.188 | 2.16 | 0.137
3rd run AM 2.04 | 110 | -7.903 | 169 | 11.479 | -9.584 | 395 | 10.909 | -9.535 | 261 | 10.596 | 0.57 | 19.382 | 20.493 | 0.313 | 20.131 | 1.681 | -0.049 | Tb | -0.041152 | Slope B-V vs B-b
| 112 | -7.038 | 96 | 12.307 | -9.429 | 360 | 11.101 | -9.643 | 275 | 10.456 | 1.206 | 19.345 | 20.53 | 0.645 | 20.099 | 2.391 | 0.214 | Tv (B-V) | 0.032524 | Slope B-V vs V-v
| 117 | -6.415 | 63 | 12.961 | -8.948 | 272 | 11.599 | -9.244 | 218 | 10.861 | 1.362 | 19.376 | 20.547 | 0.738 | 20.105 | 2.533 | 0.296 | Tv (V-R) | 0.066779 | Slope V-R vs V-v
| 119 | -6.929 | 91 | 12.489 | -8.668 | 228 | 11.833 | -8.665 | 149 | 11.465 | 0.656 | 19.418 | 20.501 | 0.368 | 20.13 | 1.739 | -0.003 | Tr | -0.136 | Slope V-r vs R-r
| 122 | -7.544 | 136 | 11.879 | -8.591 | 216 | 11.916 | -8.321 | 118 | 11.889 | -0.037 | 19.423 | 20.507 | 0.027 | 20.21 | 1.047 | -0.27 | Tbv | 0.93138 | Reciprocal of slope B-V vs b-v
| 123 | -6.603 | 73 | 12.801 | -8.435 | 196 | 12.064 | -8.478 | 131 | 11.667 | 0.737 | 19.404 | 20.499 | 0.397 | 20.145 | 1.832 | 0.043 | Tvr | 1.2544 | Reciprocal of slope V-R vs v-r
| 124 | -6.505 | 69 | 12.871 | -8.463 | 201 | 12.07 | -8.528 | 136 | 11.614 | 0.801 | 19.376 | 20.533 | 0.456 | 20.142 | 1.958 | 0.065
| 127 | -6.572 | 70 | 12.828 | -8.424 | 195 | 12.095 | -8.452 | 129 | 11.674 | 0.733 | 19.4 | 20.519 | 0.421 | 20.126 | 1.852 | 0.028
| 128 | -5.805 | 40 | 13.609 | -7.887 | 137 | 12.644 | -8.045 | 97 | 12.097 | 0.965 | 19.414 | 20.531 | 0.547 | 20.142 | 2.082 | 0.158
4th run AM 2.03 | 110 | -7.919 | 164 | 11.479 | -9.563 | 392 | 10.909 | -9.535 | 261 | 10.596 | 0.57 | 19.398 | 20.472 | 0.313 | 20.131 | 1.644 | -0.028 | Tb | -0.026128 | Slope B-V vs B-b
| 112 | -7.04 | 92 | 12.307 | -9.395 | 355 | 11.101 | -9.647 | 279 | 10.456 | 1.206 | 19.347 | 20.496 | 0.645 | 20.103 | 2.355 | 0.252 | Tv (B-V) | 0.01772 | Slope B-V vs V-v
| 117 | -6.418 | 59 | 12.961 | -8.907 | 264 | 11.599 | -9.235 | 215 | 10.861 | 1.362 | 19.379 | 20.506 | 0.738 | 20.096 | 2.489 | 0.328 | Tv (V-R) | 0.038814 | Slope V-R vs V-v
| 119 | -6.91 | 84 | 12.489 | -8.642 | 227 | 11.833 | -8.662 | 150 | 11.465 | 0.656 | 19.399 | 20.475 | 0.368 | 20.127 | 1.732 | 0.02 | Tr | -0.13651 | Slope V-r vs R-r
| 122 | -7.539 | 130 | 11.879 | -8.575 | 218 | 11.916 | -8.316 | 117 | 11.889 | -0.037 | 19.418 | 20.491 | 0.027 | 20.205 | 1.036 | -0.259 | Tbv | 0.95799 | Reciprocal of slope B-V vs b-v
| 123 | -6.59 | 69 | 12.801 | -8.4 | 197 | 12.064 | -8.482 | 134 | 11.667 | 0.737 | 19.391 | 20.464 | 0.397 | 20.149 | 1.81 | 0.082 | Tvr | 1.2126 | Reciprocal of slope V-R vs v-r
| 124 | -6.528 | 65 | 12.871 | -8.442 | 198 | 12.07 | -8.522 | 135 | 11.614 | 0.801 | 19.399 | 20.512 | 0.456 | 20.136 | 1.914 | 0.08
| 127 | -6.581 | 67 | 12.828 | -8.394 | 195 | 12.095 | -8.478 | 130 | 11.674 | 0.733 | 19.409 | 20.489 | 0.421 | 20.152 | 1.813 | 0.084
| 128 | -5.874 | 39 | 13.609 | -7.87 | 135 | 12.644 | -8.046 | 99 | 12.097 | 0.965 | 19.483 | 20.514 | 0.547 | 20.143 | 1.996 | 0.176
5th run AM 2.02 | 110 | -7.894 | 157 | 11.479 | -9.563 | 392 | 10.909 | -9.487 | 254 | 10.596 | 0.57 | 19.373 | 20.472 | 0.313 | 20.083 | 1.669 | -0.076 | Tb | -0.048622 | Slope B-V vs B-b
| 112 | -7.051 | 89 | 12.307 | -9.395 | 355 | 11.101 | -9.589 | 269 | 10.456 | 1.206 | 19.358 | 20.496 | 0.645 | 20.045 | 2.344 | 0.194 | Tv (B-V) | 0.01772 | Slope B-V vs V-v
| 117 | -6.393 | 55 | 12.961 | -8.907 | 264 | 11.599 | -9.148 | 210 | 10.861 | 1.362 | 19.354 | 20.506 | 0.738 | 20.009 | 2.514 | 0.241 | Tv (V-R) | 0.038814 | Slope V-R vs V-v
| 119 | -6.936 | 82 | 12.489 | -8.642 | 227 | 11.833 | -8.611 | 149 | 11.465 | 0.656 | 19.425 | 20.475 | 0.368 | 20.076 | 1.706 | -0.031 | Tr | -0.18754 | Slope V-r vs R-r
| 122 | -7.548 | 128 | 11.879 | -8.575 | 218 | 11.916 | -8.278 | 117 | 11.889 | -0.037 | 19.427 | 20.491 | 0.027 | 20.167 | 1.027 | -0.297 | Tbv | 0.93779 | Reciprocal of slope B-V vs b-v
| 123 | -6.629 | 68 | 12.801 | -8.4 | 197 | 12.064 | -8.389 | 129 | 11.667 | 0.737 | 19.43 | 20.464 | 0.397 | 20.056 | 1.771 | -0.011 | Tvr | 1.2926 | Reciprocal of slope V-R vs v-r
| 124 | -6.55 | 63 | 12.871 | -8.442 | 198 | 12.07 | -8.457 | 134 | 11.614 | 0.801 | 19.421 | 20.512 | 0.456 | 20.071 | 1.892 | 0.015
| 127 | -6.613 | 68 | 12.828 | -8.394 | 195 | 12.095 | -8.357 | 121 | 11.674 | 0.733 | 19.441 | 20.489 | 0.421 | 20.031 | 1.781 | -0.037
| 128 | -5.814 | 37 | 13.609 | -7.87 | 135 | 12.644 | -7.983 | 94 | 12.097 | 0.965 | 19.423 | 20.514 | 0.547 | 20.08 | 2.056 | 0.113

## NGC7790
Measurements of instrumental magnitudes of NGC7790 nov 18, 2012. Capital letters implies catalogue values, lowercase letters implies measured values.
Images collected in five series of B (120sec), V (60 sec) and R (60sec). Telescope Skywatcher Explore 190MN, QSI683-wsg8 and Baader BVR-filters.
| Measurements and catalogue-magnitudes | [10 empty] | Calculated differences | [6 empty] | Calculated coefficients |  |  | Total of 5 runs
| Star | b | snr | B | v | snr | V | r | snr | R |  | B-V | B-b | V-v | V-R | R-r | b-v | v-r | [5 empty] | std.dev
1st run AM 1.03 | 110 | -8.184 | 325 | 11.474 | -9.638 | 451 | 11.017 | -9.502 | 418 | 10.754 |  | 0.457 | 19.658 | 20.655 | 0.263 | 20.256 | 1.454 | -0.136 | Tb | 0.075136 | Slope B-V vs B-b | Tb | 0.095585 | 0.029103 | Slope B-V vs B-b
| 112 | -7.67 | 252 | 11.95 | -9.461 | 412 | 11.211 | -9.465 | 410 | 10.775 |  | 0.739 | 19.62 | 20.672 | 0.436 | 20.24 | 1.791 | 0.004 | Tv (B-V) | 0.21238 | Slope B-V vs V-v | Tv (B-V) | 0.19366 | 0.021423 | Slope B-V vs V-v
| 117 | -7.821 | 272 | 11.875 | -9.009 | 332 | 11.659 | -8.749 | 287 | 11.555 |  | 0.216 | 19.696 | 20.668 | 0.104 | 20.304 | 1.188 | -0.26 | Tv (V-R) | 0.3868 | Slope V-R vs V-v | Tv (V-R) | 0.3424 | 0.048296 | Slope V-R vs V-v
| 119 | -7.3 | 210 | 12.363 | -8.706 | 284 | 11.944 | -8.577 | 264 | 11.667 |  | 0.419 | 19.663 | 20.65 | 0.277 | 20.244 | 1.406 | -0.129 | Tr | 0.055444 | Slope V-r vs R-r | Tr | 0.10783 | 0.035981 | Slope V-r vs R-r
| 122 | -6.857 | 166 | 12.801 | -8.415 | 244 | 12.244 | -8.336 | 230 | 11.904 |  | 0.557 | 19.658 | 20.659 | 0.34 | 20.24 | 1.558 | -0.079 | Tbv | 0.87932 | Reciprocal of slope B-V vs b-v | Tbv | 0.91068 | 0.021951 | Reciprocal of slope B-V vs b-v
| 123 | -7.133 | 192 | 12.746 | -8.507 | 253 | 12.321 | -8.378 | 235 | 12.043 |  | 0.425 | 19.879 | 20.828 | 0.278 | 20.421 | 1.374 | -0.129 | Tvr | 1.4956 | Reciprocal of slope V-R vs v-r | Tvr | 1.3065 | 0.10631 | Reciprocal of slope V-R vs v-r
| 124 | -6.968 | 174 | 12.735 | -8.26 | 224 | 12.409 | -8.108 | 202 | 12.171 |  | 0.326 | 19.703 | 20.669 | 0.238 | 20.279 | 1.292 | -0.152
| 127 | -6.506 | 137 | 13.358 | -8.191 | 217 | 12.658 | -8.181 | 208 | 12.221 |  | 0.7 | 19.864 | 20.849 | 0.437 | 20.402 | 1.685 | -0.01
| 128 | -6.598 | 145 | 13.282 | -8.017 | 197 | 12.828 | -7.867 | 177 | 12.57 |  | 0.454 | 19.88 | 20.845 | 0.258 | 20.437 | 1.419 | -0.15
| 130 | -6.022 | 103 | 13.818 | -7.838 | 176 | 13.009 | -7.881 | 179 | 12.514 |  | 0.809 | 19.84 | 20.847 | 0.495 | 20.395 | 1.816 | 0.043
| 131 | -5.805 | 92 | 13.849 | -7.614 | 155 | 13.064 | -7.621 | 156 | 12.595 |  | 0.785 | 19.654 | 20.678 | 0.469 | 20.216 | 1.809 | 0.007
| 134 | -5.962 | 99 | 13.893 | -7.446 | 143 | 13.384 | -7.297 | 126 | 13.105 |  | 0.509 | 19.855 | 20.83 | 0.279 | 20.402 | 1.484 | -0.149
| 145 | -4.981 | 54 | 15.077 | -6.746 | 92 | 14.467 | -6.456 | 73 | 14.078 |  | 0.61 | 20.058 | 21.213 | 0.389 | 20.534 | 1.765 | -0.29
2nd run AM 1.03 | 112 | -7.747 | 258 | 11.95 | -9.436 | 411 | 11.211 | -9.475 | 415 | 10.775 | * se note | 0.739 | 19.697 | 20.647 | 0.436 | 20.25 | 1.689 | 0.039 | Tb | 0.064627 | Slope B-V vs B-b | *110 saturated in this run
| 117 | -7.9 | 282 | 11.875 | -9.002 | 332 | 11.659 | -8.759 | 292 | 11.555 |  | 0.216 | 19.775 | 20.661 | 0.104 | 20.314 | 1.102 | -0.243 | Tv (B-V) | 0.16475 | Slope B-V vs V-v
| 119 | -7.376 | 218 | 12.363 | -8.691 | 286 | 11.944 | -8.59 | 268 | 11.667 |  | 0.419 | 19.739 | 20.635 | 0.277 | 20.257 | 1.315 | -0.101 | Tv (V-R) | 0.27447 | Slope V-R vs V-v
| 122 | -6.92 | 169 | 12.801 | -8.407 | 246 | 12.244 | -8.36 | 238 | 11.904 |  | 0.557 | 19.721 | 20.651 | 0.34 | 20.264 | 1.487 | -0.047 | Tr | 0.087397 | Slope V-r vs R-r
| 123 | -7.213 | 199 | 12.746 | -8.494 | 259 | 12.321 | -8.382 | 240 | 12.043 |  | 0.425 | 19.959 | 20.815 | 0.278 | 20.425 | 1.281 | -0.112 | Tbv | 0.90899 | Reciprocal of slope B-V vs b-v
| 124 | -7.043 | 180 | 12.735 | -8.233 | 224 | 12.409 | -8.104 | 207 | 12.171 |  | 0.326 | 19.778 | 20.642 | 0.238 | 20.275 | 1.19 | -0.129 | Tvr | 1.2301 | Reciprocal of slope V-R vs v-r
| 127 | -6.579 | 140 | 13.358 | -8.167 | 220 | 12.658 | -8.186 | 216 | 12.221 |  | 0.7 | 19.937 | 20.825 | 0.437 | 20.407 | 1.588 | 0.019
| 128 | -6.679 | 149 | 13.282 | -7.991 | 197 | 12.828 | -7.87 | 182 | 12.57 |  | 0.454 | 19.961 | 20.819 | 0.258 | 20.44 | 1.312 | -0.121
| 130 | -6.117 | 105 | 13.818 | -7.841 | 184 | 13.009 | -7.887 | 187 | 12.514 |  | 0.809 | 19.935 | 20.85 | 0.495 | 20.401 | 1.724 | 0.046
| 131 | -5.88 | 93 | 13.849 | -7.602 | 160 | 13.064 | -7.645 | 162 | 12.595 |  | 0.785 | 19.729 | 20.666 | 0.469 | 20.24 | 1.722 | 0.043
| 134 | -6.074 | 105 | 13.893 | -7.446 | 149 | 13.384 | -7.349 | 135 | 13.105 |  | 0.509 | 19.967 | 20.83 | 0.279 | 20.454 | 1.372 | -0.097
| 145 | -5.121 | 57 | 15.077 | -6.545 | 85 | 14.467 | -6.636 | 88 | 14.078 |  | 0.61 | 20.198 | 21.012 | 0.389 | 20.714 | 1.424 | 0.091
3rd run AM 1.02 | 110 | -8.228 | 332 | 11.474 | -9.616 | 446 | 11.017 | -9.392 | 399 | 10.754 |  | 0.457 | 19.702 | 20.633 | 0.263 | 20.146 | 1.388 | -0.224 | Tb | 0.07751 | Slope B-V vs B-b
| 112 | -7.689 | 253 | 11.95 | -9.432 | 408 | 11.211 | -9.347 | 389 | 10.775 |  | 0.739 | 19.639 | 20.643 | 0.436 | 20.122 | 1.743 | -0.085 | Tv (B-V) | 0.20399 | Slope B-V vs V-v
| 117 | -7.856 | 273 | 11.875 | -8.99 | 329 | 11.659 | -8.64 | 273 | 11.555 |  | 0.216 | 19.731 | 20.649 | 0.104 | 20.195 | 1.134 | -0.35 | Tv (V-R) | 0.36111 | Slope V-R vs V-v
| 119 | -7.321 | 210 | 12.363 | -8.677 | 281 | 11.944 | -8.458 | 247 | 11.667 |  | 0.419 | 19.684 | 20.621 | 0.277 | 20.125 | 1.356 | -0.219 | Tr | 0.14886 | Slope V-r vs R-r
| 122 | -6.876 | 166 | 12.801 | -8.402 | 244 | 12.244 | -8.231 | 220 | 11.904 |  | 0.557 | 19.677 | 20.646 | 0.34 | 20.135 | 1.526 | -0.171 | Tbv | 0.88772 | Reciprocal of slope B-V vs b-v
| 123 | -7.162 | 194 | 12.746 | -8.499 | 257 | 12.321 | -8.262 | 223 | 12.043 |  | 0.425 | 19.908 | 20.82 | 0.278 | 20.305 | 1.337 | -0.237 | Tvr | 1.2694 | Reciprocal of slope V-R vs v-r
| 124 | -6.995 | 175 | 12.735 | -8.225 | 222 | 12.409 | -7.981 | 191 | 12.171 |  | 0.326 | 19.73 | 20.634 | 0.238 | 20.152 | 1.23 | -0.244
| 127 | -6.518 | 137 | 13.358 | -8.169 | 216 | 12.658 | -8.06 | 200 | 12.221 |  | 0.7 | 19.876 | 20.827 | 0.437 | 20.281 | 1.651 | -0.109
| 128 | -6.639 | 145 | 13.282 | -7.984 | 196 | 12.828 | -7.746 | 168 | 12.57 |  | 0.454 | 19.921 | 20.812 | 0.258 | 20.316 | 1.345 | -0.238
| 130 | -6.065 | 102 | 13.818 | -7.828 | 179 | 13.009 | -7.771 | 171 | 12.514 |  | 0.809 | 19.883 | 20.837 | 0.495 | 20.285 | 1.763 | -0.057
| 131 | -5.84 | 90 | 13.849 | -7.586 | 157 | 13.064 | -7.524 | 153 | 12.595 |  | 0.785 | 19.689 | 20.65 | 0.469 | 20.119 | 1.746 | -0.062
| 134 | -5.996 | 101 | 13.893 | -7.436 | 143 | 13.384 | -7.207 | 122 | 13.105 |  | 0.509 | 19.889 | 20.82 | 0.279 | 20.312 | 1.44 | -0.229
| 145 | -5.06 | 52 | 15.077 | -6.647 | 91 | 14.467 | -6.548 | 80 | 14.078 |  | 0.61 | 20.137 | 21.114 | 0.389 | 20.626 | 1.587 | -0.099
4th run AM 1.01 | 110 | -7.682 | 250 | 11.474 | -9.651 | 453 | 11.017 | -9.54 | 427 | 10.754 |  | 0.457 | 19.156 | 20.668 | 0.263 | 20.294 | 1.969 | -0.111 | Tb | 0.13869 | Slope B-V vs B-b
| 112 | -7.161 | 189 | 11.95 | -9.465 | 412 | 11.211 | -9.504 | 419 | 10.775 |  | 0.739 | 19.111 | 20.676 | 0.436 | 20.279 | 2.304 | 0.039 | Tv (B-V) | 0.21108 | Slope B-V vs V-v
| 117 | -7.294 | 202 | 11.875 | -9.015 | 331 | 11.659 | -8.793 | 294 | 11.555 |  | 0.216 | 19.169 | 20.674 | 0.104 | 20.348 | 1.721 | -0.222 | Tv (V-R) | 0.38092 | Slope V-R vs V-v
| 119 | -6.798 | 155 | 12.363 | -8.717 | 285 | 11.944 | -8.611 | 269 | 11.667 |  | 0.419 | 19.161 | 20.661 | 0.277 | 20.278 | 1.919 | -0.106 | Tr | 0.12711 | Slope V-r vs R-r
| 122 | -6.317 | 116 | 12.801 | -8.427 | 246 | 12.244 | -8.364 | 236 | 11.904 |  | 0.557 | 19.118 | 20.671 | 0.34 | 20.268 | 2.11 | -0.063 | Tbv | 0.93249 | Reciprocal of slope B-V vs b-v
| 123 | -6.616 | 139 | 12.746 | -8.512 | 255 | 12.321 | -8.417 | 243 | 12.043 |  | 0.425 | 19.362 | 20.833 | 0.278 | 20.46 | 1.896 | -0.095 | Tvr | 1.3401 | Reciprocal of slope V-R vs v-r
| 124 | -6.438 | 124 | 12.735 | -8.266 | 224 | 12.409 | -8.135 | 204 | 12.171 |  | 0.326 | 19.173 | 20.675 | 0.238 | 20.306 | 1.828 | -0.131
| 127 | -6.009 | 97 | 13.358 | -8.213 | 218 | 12.658 | -8.21 | 217 | 12.221 |  | 0.7 | 19.367 | 20.871 | 0.437 | 20.431 | 2.204 | -0.003
| 128 | -6.104 | 104 | 13.282 | -8.024 | 196 | 12.828 | -7.905 | 184 | 12.57 |  | 0.454 | 19.386 | 20.852 | 0.258 | 20.475 | 1.92 | -0.119
| 130 | -5.518 | 70 | 13.818 | -7.847 | 180 | 13.009 | -7.907 | 184 | 12.514 |  | 0.809 | 19.336 | 20.856 | 0.495 | 20.421 | 2.329 | 0.06
| 131 | -5.311 | 63 | 13.849 | -7.617 | 160 | 13.064 | -7.651 | 162 | 12.595 |  | 0.785 | 19.16 | 20.681 | 0.469 | 20.246 | 2.306 | 0.034
| 134 | -5.487 | 69 | 13.893 | -7.467 | 144 | 13.384 | -7.35 | 133 | 13.105 |  | 0.509 | 19.38 | 20.851 | 0.279 | 20.455 | 1.98 | -0.117
| 145 | -4.631 | 37 | 15.077 | -6.734 | 90 | 14.467 | -6.753 | 91 | 14.078 |  | 0.61 | 19.708 | 21.201 | 0.389 | 20.831 | 2.103 | 0.019
5th run AM 1.01 | 110 | -8.287 | 339 | 11.474 | -9.65 | 453 | 11.017 | -9.485 | 417 | 10.754 |  | 0.457 | 19.761 | 20.667 | 0.263 | 20.239 | 1.363 | -0.165 | Tb | 0.090147 | Slope B-V vs B-b
| 112 | -7.757 | 259 | 11.95 | -9.457 | 414 | 11.211 | -9.451 | 406 | 10.775 |  | 0.739 | 19.707 | 20.668 | 0.436 | 20.226 | 1.7 | -0.006 | Tv (B-V) | 0.17815 | Slope B-V vs V-v
| 117 | -7.908 | 279 | 11.875 | -9.017 | 334 | 11.659 | -8.746 | 288 | 11.555 |  | 0.216 | 19.783 | 20.676 | 0.104 | 20.301 | 1.109 | -0.271 | Tv (V-R) | 0.3122 | Slope V-R vs V-v
| 119 | -7.377 | 213 | 12.363 | -8.705 | 287 | 11.944 | -8.562 | 262 | 11.667 |  | 0.419 | 19.74 | 20.649 | 0.277 | 20.229 | 1.328 | -0.143 | Tr | 0.1045 | Slope V-r vs R-r
| 122 | -6.954 | 171 | 12.801 | -8.428 | 248 | 12.244 | -8.329 | 233 | 11.904 |  | 0.557 | 19.755 | 20.672 | 0.34 | 20.233 | 1.474 | -0.099 | Tbv | 0.91911 | Reciprocal of slope B-V vs b-v
| 123 | -7.217 | 198 | 12.746 | -8.523 | 259 | 12.321 | -8.357 | 231 | 12.043 |  | 0.425 | 19.963 | 20.844 | 0.278 | 20.4 | 1.306 | -0.166 | Tvr | 1.2621 | Reciprocal of slope V-R vs v-r
| 124 | -7.06 | 178 | 12.735 | -8.257 | 224 | 12.409 | -8.072 | 199 | 12.171 |  | 0.326 | 19.795 | 20.666 | 0.238 | 20.243 | 1.197 | -0.185
| 127 | -6.578 | 137 | 13.358 | -8.198 | 218 | 12.658 | -8.158 | 211 | 12.221 |  | 0.7 | 19.936 | 20.856 | 0.437 | 20.379 | 1.62 | -0.04
| 128 | -6.688 | 147 | 13.282 | -8.016 | 198 | 12.828 | -7.854 | 181 | 12.57 |  | 0.454 | 19.97 | 20.844 | 0.258 | 20.424 | 1.328 | -0.162
| 130 | -6.124 | 105 | 13.818 | -7.842 | 184 | 13.009 | -7.853 | 178 | 12.514 |  | 0.809 | 19.942 | 20.851 | 0.495 | 20.367 | 1.718 | 0.011
| 131 | -5.904 | 92 | 13.849 | -7.608 | 160 | 13.064 | -7.586 | 154 | 12.595 |  | 0.785 | 19.753 | 20.672 | 0.469 | 20.181 | 1.704 | -0.022
| 134 | -6.068 | 104 | 13.893 | -7.473 | 146 | 13.384 | -7.3 | 130 | 13.105 |  | 0.509 | 19.961 | 20.857 | 0.279 | 20.405 | 1.405 | -0.173
| 145 | -5.108 | 54 | 15.077 | -6.628 | 90 | 14.467 | -6.677 | 88 | 14.078 |  | 0.61 | 20.185 | 21.095 | 0.389 | 20.755 | 1.52 | 0.049